## RUCO 4.07
RUCO 4.07 Main Relocation Cost and Cost Responsibility
(1) Work Order Number | (1) District | (1) Town | (1) Work Order Description | (1) Reason for Relocate (e.g. utility conflict, depth, new construction) | (2) Physical Location (Street, ROW, Easement, Private Property) | (2) Property Owner (City, DOT, Private) | (3) Who Required Relocate (e.g. City of Flagstaff) | (4) Total before CIAC | (4) Total Recovery from Rate Payer | (5) Previous Main Retired (Y/N)
DF22613-251100A | Flagstaff | Flagstaff | SIXTH AND MAIN ST 3" RELO | Conflict with sewer manhole (New construction/ utility conflict) | Intersection of E Sixth Ave and N Main St (Street) | City of Flagstaff | City of Flagstaff | 13389.36 | 13389.36 | Y - 14' of 3" steel removed on 10-22-25
DF22621-251100A | Flagstaff | Flagstaff | MESA TRL 2 INCH RELO | Conflict with sewer manhole (New construction/ utility conflict) | 3074 Mesa Trl (Street) | County | County | 8685.3 | 8685.3 | Y - 49' of 2" PE abandoned in place on 11-10-25
DF22624-251100A | Flagstaff | Flagstaff | 2" RELO OF 250' AT 2800 N EL PASO F | Conflict with new sewer install (New construction/ utility conflict) | 2800 N El Paso Rd (Easement) | City of Flagstaff | City of Flagstaff | 9113.06 | -2187.59 | Y - 248' of 2" PE abandoned in place on 12-13-25
DF22731-251100A | Flagstaff | Flagstaff | PINEGROVE RD 2" STL RELO | 2" Steel gas line outside of dedicated easement | 34 S Pinegrove, (Easement) | Jason Rohr/ Private | Unisource/ Jason Rohr | 222207.78 | 222207.78 | Y- 315' of 2" Steel abandoned in place on 6-1-26
DF22741-251100A | Flagstaff | Flagstaff | 505 S SAN FRANCISCO 1" MAIN RELO | Leak on Main | 505 S SAN FRANCISCO 1" MAIN RELO | Private Property Owner | Unisource/ Jason Rohr | 1838.11 | 1838.11 | Y - 26' of 1" Steel removed/retired
DK22695-252500B | Mohave | Kingman | PI - Relocate 4" Main @ Arizona St | Utility Conflict - New Storm Drain Install | Street ROW | Mohave County | Mohave County | 7250.37 | 7250.37 | N - Added 4' of 4" main and raised main to create clearance for new storm drain install on 3/12/26. No pipe retired.
DK22696-252500B | Mohave | Kingman | PI - Relocate 2" Main @ Arizona St | Utility Conflict - New Storm Drain Install | Street ROW | Mohave County | Mohave County | 15250.58 | 15250.58 | Y - 44' of 2" PE retired on 3/5/26
DK22751-252500B | Mohave | Kingman | PI - Relocate 2" PE Main @ Gordon & | Utility Conflict - New Storm Drain Install | Street ROW | City of Kingman | City of Kingman | 5276.97 | 5276.97 | Y - 47' of 2" PE retired on 6/24/26
DP22209-253100A | Prescott | Dewey-Humbolt | Main St-Humboldt Relocate | 2" Steel gas main outside of ROW | 402-07-002C E Main St. to 402-07-007C E Main St. | Dennis M Charles / Private | UniSource / Dennis M Charles | 232492.13 | 232492.13 | Y - 427' of 2" Stl Main Abandoned in place 10/1/2025
DP22419-253500B | Prescott | Yavapai County | Pinon Pl Relocate | Conflict with new County PI paving structure (Depth / Utility Conflict) | Overland Rd & Pinon Pl | Yavapai County | Yavapai County | 420721.86 | 420721.86 | Y - 129' of 4" Stl Main & 506' of 2" Stl Main Abandoned in Place 7/29/2025 167' 3/4" Stl Svc & 193' of 4" Stl Main Abandoned in Place 8/18/2025
DP22470-253500B | Prescott | Prescott | 1134 Stetson Relocate | Conflict with new City of Prescott PI drainage & paving structure (New Construction / Depth / Utility Conflict) | 1134 Stetson Dr. | City of Prescott | City of Prescott | 168.14 | 168.14 | Y - 3' Of 1" Stl Svc Removed & 432' of 1" Stl Svc Abandoned in Place 4/8/2025
DP22472-253500B | Prescott | Prescott | Hartin/Stetson Relocate | Conflict with new City of Prescott PI drainage & paving structure (New Construction / Depth / Utility Conflict) | Hartin Dr & Stetson Dr | City of Prescott | City of Prescott | 19121.94 | 19121.94 | Y - 2' of 2" Stl Removed & 260' of 2" Stl Abandoned in Place 4/23/2025
DP22498-253500B | Prescott | Yavapai County | 2201 View Dr. Relocate | Conflict with new County PI paving structure (Depth / Utility Conflict) | 2201 View Dr. | Yavapai County | Yavapai County | 18225.24 | 18225.24 | Y- 35' of 2" Stl Removed 4/12/2025
DP22607-253100A | Prescott | Prescott | Granite St. Relocate | Conflict with new City of Prescott PI paving structure (Depth / Utility Conflict) | 233-737 S. Granite St. | City of Prescott | City of Prescott | 348385.29 | 348385.29 | Y - 11' 2" Stl Removed & 367' of 2" Stl Abandoned in place 11/5/2025
DP22644-253500B | Prescott | Prescott | Cherry Dr. Relocate | Conflict with new City of Prescott PI drainage & paving structure (New Construction / Depth / Utility Conflict) | Intersection of Middlebrook Rd & Cherry Dr. to Linden Rd & Cherry Dr. | City of Prescott | City of Prescott | 395515.46 | 395515.46 | Y - 817' 2" Stl Abandoned in Place 2/20/2026
DP22725-253500B | Prescott | Prescott | Allen Ln PI Relocation | Conflict with new City of Prescott PI paving structure (Depth / Utility Conflict) | 810 Allen Ln | City of Prescott | City of Prescott | 70415.25 | 70415.25 | Y - 110' of 2" Stl Main & 7' of 3/4" Stl Main Removed 4/23/2026
DS22446-256100A | Santa Cruz | Patagonia | Relocate about 200' of 2" STL Gas | Relocating due to new road construction per-contractor. Invoiced for relocation | Red Cloud Ln Patagonia | Private South-32 | Contractor | -334.71 | -68904.71 | Y - 180' of 2" steel retired
DS22611-256100A | Santa Cruz | Nogales | Relocate 4" PE Gas Main Along N. Lomas Mariposa | Utility Conflict | N Lomas Mariposa | City road Improvement | City Road Improvement | 139089.8 | 139089.8 | Y - 701' of 4" PE Removed
DV22164-255100A | Verde | Clarkdale | The Plateau 4" Relocation | Lowered for new townhouses for customer (invoiced for relocation) | 880 South 1st St Clarkdale private property | Plateau Partners Private LLC | Owner | 179168.73 | 56124.73 | Y - 784' of 4" steel removed on 8/27/2025
DV22599-255100A | Verde | Sedona | RELOCATING 65' OF 2" FB FOREST RD S | City Of Sedona (original line not in right a way) | 460 Forest Rd in easement | City of Sedona | City of Sedona | 21519.81 | 21519.81 | Y - 65' of 2" steel removed on 10/6/2025
DV22688-255100A | Verde | Sedona | 255100A-RELOCATE 90FT 2" STEEL MAIN | City Of Sedona (invoiced for relocation) | 2250 Shelby Dr Sedona in easement | City of Sedona | City of Sedona | 19700.58 | 19700.58 | Y - 47' of 2" steel removed on 3/6/2026
|  |  | Grand Total |  |  |  |  | 2147201.05 | 1944286.4
Note on J5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @ 09.30.26,outside the ARAM period the over collection from customer was refunded and total recovery from rate payer is $0.
Note on J19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: CIAC received during ARAM period, however actual costs incurred outside of ARAM period. Costs at 09.30.26 $2,289.14.